BENGAL CHEMICALS AND PHARMACEUTICALS LIMITED

(A Government of India Enterprise)

84/23, Factory Area, Fazalganj, Kanpur- 208012

Ph-0512-2216292/26 Fax-0512-2217794

Email:Kanpur@bengalchemicals.gov.in   Website:www.bengalchemicals.gov.in

Tender No: BCPL/TE/KNP /01/2014-15, DT.06/11/2014

Tender Document For

CIVIL WORKS FOR OLD TABLET SECTION

Last date and time for receipt of bids: 15/11/2014 (13.00Hrs)

Date and time of opening bids:           15/11/2014 (15.00Hrs)

NOTICE INVITING TENDER

1. PRE-QUALIFICATION CRITERIA OF BIDDERS:

The parties who will qualify for participating in the tenders must fulfil followings:

(1) Tenderer must have executed under their Company/ firm’s name & style at least 3(three) similar type of order for civil construction, repair and of similar type of work.

Documentary evidence (duly signed & stamped) must be enclosed with the bid.

(2) Tenderer must have valid registration certificate for Sales Tax, Income Tax, Provident Fund and Trade License.

2. SCOPE OF WORK

The scope of work under this tender covers civil constuction, repair, aluminium fabrication e.t.c; Detail of the work is as mentioned in Bill of quantity.

3. COMPLETION PERIOD

Within a month

4. TENDER DOCUMENT SUBMISSION:

Tender to be submitted sealed envelope superscribing : Tender Number, Tender-Package No., Tender Item Name and Due date of opening.

Tender shall be addressed to the Senior Asst. Manager (Mat.), Bengal Chemicals & Pharmaceuticals Limited, 84/23, Factory Area, Fazalganj, Kanpur

5. VALIDITY OF OFFER:

Tenderers shall keep their offer valid for a period 90 days from the due date / extended due date (if any) of the tender-opening.

6. NON-CONFORMANCE

Tenders not conforming to the above mentioned requirement are liable to be rejected.

7. RIGHT OF ACCEPTANCE / REJECTION

Mere issue of tender document and submission of bids does not necessarily qualify for consideration of bids Bengal Chemicals & Pharmaceuticals Ltd reserve the right to accept or reject any tender either in part or in full without assigning any reason whatsoever.

8. CLARIFICATIONS

For any clarifications please contact Works Manager – BCPL Kanpur , phone 0512-2216292

9. TERMS OF PAYMENT:

100% payment after the completion or work/job.

10. INSPECTION:

Materials on its arrival at Client’s site will be inspected by Stores In-charge / Client’s Representative and Engineer-in-charge and their decision in the matter will be final.

11. TEST CERTIFICATES:

Test Certificates, shall be obtained and furnished to the client free of cost along with the supply. Client reserve the right to avail third party for inspection and testing.

12. Dispute if any to be settled within Kanpur jurisdiction.

STAMPED & SIGNED BY THE BIDDER

FORM OF BID

(To be submitted by the Bidder

M/s.

Kanpur

Sub :

Dear Sir,

1. Having carefully examined all the Tender documents attached to your Invitation to Bid No. ……………………. Dated ………………………….., and its Amendments / Errata / Corrigendum / Clarifications issued till the date of tender opening, we agree to complete the WORKS in conformity will all the terms and conditions stated in Tender Documents and its Amendments / Errata / Corrigendum / Clarifications issued till the date of tender opening and as per time schedule given in Tender Document. The Plant, Equipment and System offered are of best and of latest technology and of international standards.

2. I / We declare and certify that I / We fully satisfy the Qualifying Requirements and the documentary proof as called for, have been annexed.

3. We undertake, in case our bid is accepted, to commence the work from the date of Letter of Award and to complete and deliver the whole of the work and responsibilities comprised in the contract within Three (3) Months calculated from the date of Work Order and as per time schedule given in Tender Document.

5. We agree to abide by and keep our Bid valid initially for a period of 3 months from the date of opening of Bid and it shall remain binding on us and may be accepted at any time before the expiry of that period.

6. Should our Bid be accepted, we hereby agree to abide by and fulfill all Terms and Conditions of Tender Document as accepted by us. We understand that BENGAL CHEMICALS AND PHARMECUTICALS LTD is not bound to accept the lowest or any Bids received and BENGAL CHEMICALS AND PHARMECUTICALS LTD has the right to reject a bid, without assigning any reason whatsoever.

7. This Bid together with written acceptance by way of Work Order thereof, shall constitute a binding CONTRACT between BENGAL CHEMICALS AND PHARMECUTICALS LTD. and ourselves till any formal contract is executed.

8. Dated this __________________ day of _______________________.

Witness – Authorised Signature

Signature

Occupation

Date

Address

Witness –: DESIGNATION

STAMPED & SIGNED BY THE BIDDER

SCHEDULE OF CONFIRMATION

Questionnaire on Commercial Points to be Answered by the Bidder

- Name of Bidder Firm/Company

1.1Address :

1.2Telephone No. :

1.3 Fax. No. & E-mail Address :

1.4 Banker’s Name & Address :

1.5 Name & Full address of Chief executive :

1.6 Name, Designation and full address of contact person and :

Cell No. ,                                                                               E-mail address.

1.7 Place of manufacture of supply item :

1.8 Other information if any (enclose separate sheets) :

1.9 VALIDITY OF BID

2.0 Please confirm the validity of Bid to be3 months:

STAMPED & SIGNED BY THE BIDDER

BILL OF QUANTITIES &PRICE -BID FORM

| S.No. | DSR.ITEM NO. | DESCRIPTION OF ITEM | UNIT | QUANTITY | RATE | AMOUNT | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 15.7.4 | Demolishing brick work manually / by mechanical means including staking of material at designated locations within the campus area. | Cum | 13.46 |  |  |  |
| 2 | 15.12.1 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead: | Each | 4.00 |  |  |  |
| 3 | 6.4.2 | Brick work with F.P.S. bricks of class designation 75 in superstructure above plinth level up to floor V level in all shapes and sizes in : |  |  |  |  |  |
| 4 |  | Cement mortar 1:6 (1 cement : 6 coarse sand) | Cum | 9.49 |  |  |  |
| 5 | 13.1.1 | 12 mm cement plaster of mix : |  |  |  |  |  |
| 6 |  | 1:4 (1 cement : 4 fine sand) | Sqm | 96.90 |  |  |  |
| 7 | 5.1.1 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centring, shuttering, finishing and reinforcement - all work upto plinth level. |  |  |  |  |  |
| 8 |  | 1:1.5:3 (1 cement :1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | Cum | 18.99 |  |  |  |
| 9 | 5.9.1 | Centring and shuttering including, propping etc and removal of form for : |  |  |  |  |  |
| 10 |  | Foundations, footings, bases of columns etc for mass concrete. | Sqm | 31.50 |  |  |  |
| 11 | 11.37 | Providing and fixing 1st quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacture) of approved makin in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | Sqm | 16.68 |  |  |  |
| 12 | 9.117.1 | Providing and fixing factory made UPVC door frame made of UPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturers specification and direction of Engineer-in-charge |  |  |  |  |  |
| 13 |  | Providing and fixing to existing door frames. | Rmt | 14.85 |  |  |  |
| 14 | 9.118.1 | 24 mm thick factory made PVC door shutters made of styles and rails of a UPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/plastic brackets of size 75x220 mm having | Sqm | 4.73 |  |  |  |
| 15 | 17.1.1 | Providing & fixing white vitreous china water closet squatting pan ISI marked (Indian type W.C. pan ) with 100 mm. Sand cast iron P or S trap. 10/12.5 litrs. PVC low level flushing cistern with fittings & brackets 40mm dia. C.P. flush pipe with fitting & clamps, 20mm overflow pipe with specials and mosquito proof coupling of approved municipal design, including painting of fittings and brackets, cutting & making good the walls & floors wherever required: |  |  |  |  |  |
| 16 |  | a) Orissa Pattern W.C. pan of size 580x440 mm with integral type foot rests flush pipe and overflow arrangement. | Each | 1.00 |  |  |  |
| 17 | 7106 | Coloured Vitreous china 10 lit. low level cistern | Each | 2.00 |  |  |  |
| 18 | 17.7.4 | Providing & fixing white vitreous china wash basin with C.I. brackets painted white, 15 mm C.P. brass pillar taps, C.P. brass chain with rubber plug, 32mm C.P. brass waste of standerd pattern including cutting & making good the walls wherever required. |  |  |  |  |  |
| 19 |  | a)Flat back wash Basin size 550x400 mm with single 15 mm C.P. brass pillar tap. | Each | 1.00 |  |  |  |
|  | 18.53 | Providing and fixing CP brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931. | Each | 6.00 |  |  |  |
|  | 18.49 | Providing and fixing ISI Marked CP bib cock 15mm with flange of approved quality including threading the pipe etc. for completion of work. |  |  |  |  |  |
|  |  | short body bib cock | Each | 2.00 |  |  |  |
|  | 13.62.1 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade: |  |  |  |  |  |
|  |  | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | Sqm | 464.00 |  |  |  |
|  | 13.83.2 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre. of approved brand and manufacture, including applying additional coats |  |  |  |  |  |
|  |  | Two coats | Sqm | 509.00 |  |  |  |
|  | 5.22.6 | Reinforcement for R.C.C work including straightening, cutting, beding, placing in position and binding all complete. |  |  |  |  |  |
| MR |  | Thermo - Mechanically treated bars. | kg | 500.00 |  |  |  |
|  |  | Kota stone Grinding and polishing | Sqm | 750.00 |  |  |  |
| MR |  | Making of Septic Tank (size 2.5mx1.5mx1.5m) | Each | 1.00 |  |  |  |
| MR |  | Remoaving of old Alluminium Partition | Sqm | 189.65 |  |  |  |
| MR |  | Refixing of old Alluminium Partition | Sqm | 236.93 |  |  |  |
|  |  |  |  | GRAND TOTAL |  |  |

STAMPED & SIGNED BY THE BIDDER